# Building Envelope Inspection Form

Before leaving the site after each inspection submit this form with annotated photographs to the University of Michigan Project Manager.

- Check the N/A checkbox when the system does not apply to the project.

- Area of Inspection shall be indicated by column lines, floor level, and building orientation.

- Inspection Codes shall be used to indicate the status of system components at the time of inspection.

- Inspector Initials shall be provided with each system component Inspection Date.

- Photo Identifier provides the name and/or number of each photo, or group of photos, that applies to each deficiency.  Only provide photos of defective areas and/or deficiencies.  Inspector shall develop photo numbering system which shall include the date of photo.

- Expand the form to include systems and materials specific to the project under inspection.

| Project Name: |  | Inspectors/Initials: |  |
| --- | --- | --- | --- |
| Project Number: |  |  |  |
| Inspection Firm: |  |  |  |

| Inspection Codes: | Not Applicable: NA | Not Installed: ~ | Installed/ Acceptable: 0 | Installed/ Not Acceptable: X |
| --- | --- | --- | --- | --- |

|  |  |  |  | Inspection Date/Inspector Initials: |  |  |  |  |  | Comments: | Photo Identifier: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | N/A |  |  |  |  |  |  |  |  |  |
| System: |  |  |  |  |  |  |  |  |  |  |  |
| Foundation/ Slab/ Below Grade Walls |  |  |  |  |  |  |  |  |  |  |  |
| Area of inspection: |  |  |  |  |  |  |  |  |  |  |  |
| Insulation |  |  |  |  |  |  |  |  |  |  |  |
| Slab insulation |  |  |  |  |  |  |  |  |  |  |  |
| Below grade wall insulation |  |  |  |  |  |  |  |  |  |  |  |
| Additional Comments: |  |  |  |  |  |  |  |  |  |  |  |
| Moisture/Radon Protection |  |  |  |  |  |  |  |  |  |  |  |
| Vapor barrier continuous under slab |  |  |  |  |  |  |  |  |  |  |  |
| Damp-proofing/waterproofing at below grade walls |  |  |  |  |  |  |  |  |  |  |  |
| Protection board/ drainage mat |  |  |  |  |  |  |  |  |  |  |  |
| Foundation drains and collection points |  |  |  |  |  |  |  |  |  |  |  |
| Radon: aggregate and collection points |  |  |  |  |  |  |  |  |  |  |  |
| Additional Comments: |  |  |  |  |  |  |  |  |  |  |  |
| Openings/ Penetrations |  |  |  |  |  |  |  |  |  |  |  |
| Penetrations sealed and waterproofed |  |  |  |  |  |  |  |  |  |  |  |
| Sleeves/”Linkseals” |  |  |  |  |  |  |  |  |  |  |  |
| Additional Comments: |  |  |  |  |  |  |  |  |  |  |  |
| Joints |  |  |  |  |  |  |  |  |  |  |  |
| Control Joints |  |  |  |  |  |  |  |  |  |  |  |
| Expansion Joints |  |  |  |  |  |  |  |  |  |  |  |
| Sealant Joints |  |  |  |  |  |  |  |  |  |  |  |
| Additional Comments: |  |  |  |  |  |  |  |  |  |  |  |

|  |  |  |  | Inspection Date/Inspector Initials: |  |  |  |  |  | Comments: | Photo ID: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | N/A |  |  |  |  |  |  |  |  |  |
| System: |  |  |  |  |  |  |  |  |  |  |  |
| Exterior Walls |  |  |  |  |  |  |  |  |  |  |  |
| Area of inspection: |  |  |  |  |  |  |  |  |  |  |  |
| Flashing |  |  |  |  |  |  |  |  |  |  |  |
| Location |  |  |  |  |  |  |  |  |  |  |  |
| Continuity/ Watertight joints |  |  |  |  |  |  |  |  |  |  |  |
| Extension beyond face of building |  |  |  |  |  |  |  |  |  |  |  |
| Additional Comments: |  |  |  |  |  |  |  |  |  |  |  |
| Weeps |  |  |  |  |  |  |  |  |  |  |  |
| Location |  |  |  |  |  |  |  |  |  |  |  |
| Additional Comments: |  |  |  |  |  |  |  |  |  |  |  |
| Air Barrier |  |  |  |  |  |  |  |  |  |  |  |
| Material |  |  |  |  |  |  |  |  |  |  |  |
| Continuity, including at transitions between materials, planes and where wall meets roof and foundation; integration with window openings |  |  |  |  |  |  |  |  |  |  |  |
| Seams and penetrations sealed |  |  |  |  |  |  |  |  |  |  |  |
| Additional Comments: |  |  |  |  |  |  |  |  |  |  |  |
| Insulation |  |  |  |  |  |  |  |  |  |  |  |
| Material and thickness |  |  |  |  |  |  |  |  |  |  |  |
| Continuity |  |  |  |  |  |  |  |  |  |  |  |
| Thermal breaks |  |  |  |  |  |  |  |  |  |  |  |
| Additional Comments: |  |  |  |  |  |  |  |  |  |  |  |
| Masonry |  |  |  |  |  |  |  |  |  |  |  |
| Wall cavity depth, continuity, and clarity (free from obstruction) |  |  |  |  |  |  |  |  |  |  |  |
| Mortar joints tooled and filled |  |  |  |  |  |  |  |  |  |  |  |
| Additional Comments: |  |  |  |  |  |  |  |  |  |  |  |
| Joints |  |  |  |  |  |  |  |  |  |  |  |
| Control Joints |  |  |  |  |  |  |  |  |  |  |  |
| Expansion Joints |  |  |  |  |  |  |  |  |  |  |  |
| Sealant Joints |  |  |  |  |  |  |  |  |  |  |  |
| Additional Comments: |  |  |  |  |  |  |  |  |  |  |  |

|  |  |  |  | Inspection Date/Inspector Initials: |  |  |  |  |  | Comments: | Photo ID: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | N/A |  |  |  |  |  |  |  |  |  |
| System: |  |  |  |  |  |  |  |  |  |  |  |
| Fenestration and Other Penetrations |  |  |  |  |  |  |  |  |  |  |  |
| Area of inspection: |  |  |  |  |  |  |  |  |  |  |  |
| Flashing |  |  |  |  |  |  |  |  |  |  |  |
| Flashing around perimeter is complete and watertight, especially under sills |  |  |  |  |  |  |  |  |  |  |  |
| Sealed to air /water barrier at adjacent walls |  |  |  |  |  |  |  |  |  |  |  |
| Extension beyond face of exterior wall |  |  |  |  |  |  |  |  |  |  |  |
| Additional Comments: |  |  |  |  |  |  |  |  |  |  |  |
| Weeps |  |  |  |  |  |  |  |  |  |  |  |
| Location |  |  |  |  |  |  |  |  |  |  |  |
| Additional Comments: |  |  |  |  |  |  |  |  |  |  |  |
| Air Barrier |  |  |  |  |  |  |  |  |  |  |  |
| Continuity maintained |  |  |  |  |  |  |  |  |  |  |  |
| No gaps in transition to frame |  |  |  |  |  |  |  |  |  |  |  |
| Penetrations sealed |  |  |  |  |  |  |  |  |  |  |  |
| Seams sealed, including transition in material changes and at penetrations |  |  |  |  |  |  |  |  |  |  |  |
| Additional Comments: |  |  |  |  |  |  |  |  |  |  |  |
| Insulation |  |  |  |  |  |  |  |  |  |  |  |
| No gaps around penetrations |  |  |  |  |  |  |  |  |  |  |  |
| Additional Comments: |  |  |  |  |  |  |  |  |  |  |  |
| Sealant Joints |  |  |  |  |  |  |  |  |  |  |  |
| Construction |  |  |  |  |  |  |  |  |  |  |  |
| Thickness and width |  |  |  |  |  |  |  |  |  |  |  |
| Joint backings |  |  |  |  |  |  |  |  |  |  |  |
| Continuity of joints provided around perimeter with special attention to corners |  |  |  |  |  |  |  |  |  |  |  |
| Foundation drains and collections |  |  |  |  |  |  |  |  |  |  |  |
| Additional Comments: |  |  |  |  |  |  |  |  |  |  |  |

|  |  |  |  | Inspection Date/Inspector Initials: |  |  |  |  |  | Comments: | Photo ID: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | N/A |  |  |  |  |  |  |  |  |  |
| System: |  |  |  |  |  |  |  |  |  |  |  |
| Roofs, including parapets |  |  |  |  |  |  |  |  |  |  |  |
| Area of inspection: |  |  |  |  |  |  |  |  |  |  |  |
| Flashing |  |  |  |  |  |  |  |  |  |  |  |
| Roofing materials and accessories |  |  |  |  |  |  |  |  |  |  |  |
| Continuity of flashing and/or roof membrane under copings and caps. |  |  |  |  |  |  |  |  |  |  |  |
| Parapets: Proper covering or flashing of masonry on roof face of wall to prevent migration of water to masonry below |  |  |  |  |  |  |  |  |  |  |  |
| Additional Comments: |  |  |  |  |  |  |  |  |  |  |  |
| Slope |  |  |  |  |  |  |  |  |  |  |  |
| Roof design slopes |  |  |  |  |  |  |  |  |  |  |  |
| Additional Comments: |  |  |  |  |  |  |  |  |  |  |  |
| Insulation |  |  |  |  |  |  |  |  |  |  |  |
| Mechanical fastening of roof insulation |  |  |  |  |  |  |  |  |  |  |  |
| Continuous |  |  |  |  |  |  |  |  |  |  |  |
| Roof installation |  |  |  |  |  |  |  |  |  |  |  |
| Joints filled |  |  |  |  |  |  |  |  |  |  |  |
| Additional Comments: |  |  |  |  |  |  |  |  |  |  |  |
| Drains |  |  |  |  |  |  |  |  |  |  |  |
| Control Joints |  |  |  |  |  |  |  |  |  |  |  |
| Location |  |  |  |  |  |  |  |  |  |  |  |
| Sealant Joints |  |  |  |  |  |  |  |  |  |  |  |
| Construction |  |  |  |  |  |  |  |  |  |  |  |
| Thickness and width |  |  |  |  |  |  |  |  |  |  |  |
| Joint backings |  |  |  |  |  |  |  |  |  |  |  |
| Continuity of joints provided around perimeter with special attention to corners |  |  |  |  |  |  |  |  |  |  |  |
| Foundation drains and collections |  |  |  |  |  |  |  |  |  |  |  |
| Additional Comments: |  |  |  |  |  |  |  |  |  |  |  |

|  |  |  |  | Inspection Date/Inspector Initials: |  |  |  |  |  | Comments: | Photo ID: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | N/A |  |  |  |  |  |  |  |  |  |
| System: |  |  |  |  |  |  |  |  |  |  |  |
| Area of inspection: |  |  |  |  |  |  |  |  |  |  |  |
| Additional Comments: |  |  |  |  |  |  |  |  |  |  |  |

Editor’s Note:  The list provided above is not all-inclusive but is meant to act as a baseline for envelope inspection.  Please include project specific and additional items below.